Technical Documentation for Breast Cancer Diagnostic AI (BCD-AI) - ClinicalModule

This document provides the detailed technical documentation for the ClinicalModule component of the Breast Cancer Diagnostic AI (BCD-AI) system, aligning with the requirements of Annex IV, Point 2 of Regulation (EU) 2024/1689 (EU AI Act). The ClinicalModule is a high-risk AI system responsible for processing tabular clinical and laboratory records to contribute to the overall diagnostic decision. The documentation leverages a UML-based approach to ensure clarity, auditability, and full traceability of the system’s design, development, and explainability mechanisms.

1. Development Process and Design Choices

The BCD-AI system was developed using a modular neural network architecture to enhance control and specialization. The ClinicalModule itself was implemented using the Python ecosystem within a Jupyter Notebook environment, which enabled a direct mapping between the executable code structure and the formal UML class diagram. This development path, while not a standardized approach, was explicitly chosen to align the code structure directly with Explainable AI (XAI) requirements, ensuring that the entire explanatory process is traceable and auditable.

The key design choice was the use of six distinct black-box learning models within the ClinicalModule, each specifically trained and deployed for a pre-determined patient sub-group to improve specialized diagnostic accuracy:

- ModelA_MLP: Specialized for women $\le 35$ years old.

- ModelB_RF: Specialized for women with a family history of the disease.

- ModelC_GB: Specialized for cases with irregular screening histories.

- ModelD_LR: Specialized for women $> 60$ years old.

- ModelE_GB: Specialized for women with poor lifestyle.

- ModelF_LR: Applied in all other cases.

This architectural decision necessitates the use of a variety of local, model-agnostic explanation methods to ensure appropriate human oversight and interpretability for each specialized model.

2. Algorithms, Models, and Parameters

The six learning models within the ClinicalModule are formally represented in the UML documentation (to be inserted as Figure 2) by two key stereotypes. The initial, untrained models are captured by the $<<\text{ModelDefinition}>>$ stereotype (e.g., ModelA\_MLP), while the fully trained and deployed versions are represented by the $<<\text{TrainedModel}>>$ stereotype (e.g., TrainedModelA).

The specific algorithms employed are:

- ModelA_MLP: Multilayer Perceptron Classifier.

- ModelB_RF: RandomForest Classifier.

- ModelC_GB and ModelE_GB: GradientBoostingClassifier.

- ModelD_LR and ModelF_LR: LogisticRegression.

Each <<TrainedModel>> explicitly records its performance and version history via tagged values. The current deployment versions and their recorded accuracies are:

- TrainedModelA (MLP): Version 1.0, Accuracy $95\%$

- TrainedModelB (RF): Version 1.2, Accuracy $97\%$

- TrainedModelC (GB): Version 1.5, Accuracy $99\%$

- TrainedModelD (LR): Version 1.8, Accuracy $97\%$

- TrainedModelE (GB): Version 2.0, Accuracy $95\%$

- TrainedModelF (LR): Version 2.2, Accuracy $97\%$

3. Architecture and Module Integration

The ClinicalModule is architecturally defined as a package that depends on the DataEntry interface, which is the repository for the database. As illustrated in the UML class diagram, the module’s operation begins with the ClinicalDatabase class, which is marked with the <<DataSource>> stereotype.

Each of the six <<ModelDefinition>> classes is associated with the ClinicalDatabase <<DataSource>>, signifying their dependency on the data for model preparation and training. Subsequently, each <<ModelDefinition>> is directly associated with its resulting <<TrainedModel>> counterpart (e.g., ModelA\_MLP to TrainedModelA). This architecture distinctly separates the untrained model definition from the operational, trained black-box model, which is a critical element for traceability and deployment control.

The ClinicalModule is an integral part of the larger BCD-AI system, providing one of the three core inputs (alongside the ImageModule and GeneticModule) to a final integrator component, which synthesizes the final diagnosis.

4. Data Provenance, Cleaning, and Labeling

Data provenance is formally captured using the <<DataSource>> stereotype applied to the ClinicalDatabase class. The mandatory tagged values provide explicit identification and release information, recording the dataset as Name = "Wisconsin Breast Cancer" and Version = "scikit-learn 1.3". This ensures that the dataset's source and its precise version are unequivocally documented.

The dataset, sourced from the scikit-learn library, is a pre-processed dataset compatible with the ClinicalModule’s focus on tabular data. The dataset's data attributes and labels are accessible via the methods and attributes of the ClinicalDatabase class. The data is managed by the get\_features() and get\_labels() methods. The overall process assumes standard data cleaning and feature engineering consistent with the use of the scikit-learn version. The labels correspond to the binary classification of a tumor as either benign or malignant.

5. Human Oversight and Explainability

Technical measures to facilitate human oversight and interpretation are fully integrated into the ClinicalModule’s design, as visually represented in the UML diagram. Each <<TrainedModel>> maintains an explicit 1-to-1 association with a distinct explainer component, ensuring that every operational model has a dedicated and traceable post-hoc explanation mechanism.

The integration of explainability methods is as follows:

- TrainedModelA (MLP) is associated with the <<LimeExplainer>> (LimeExplainerA), which provides local interpretations for individual patient decisions. As LIME is a perturbation-based technique, it is intermediated by a <<Perturbator>> (PerturbatorA) class that generates data variations for local analysis.

- TrainedModelB (RF) is directly associated with the <<ShapExplainer>> (ShapExplainerB), which generates feature contribution explanations based on SHAP values.

- TrainedModelC (GB) is associated with the <<IceExplainer>> (IceExplainerC), which provides local interpretation through Individual Conditional Expectation (ICE) plots.

- TrainedModelD (LR) is associated with the <<CeterisExplainer>> (CeterisExplainerD), which provides counterfactual interpretations via Ceteris Paribus profiles.

- TrainedModelE (GB) is associated with a second <<IceExplainer>> (IceExplainerE) for its specialized cohort interpretation.

- TrainedModelF (LR) is associated with a second <<CeterisExplainer>> (CeterisExplainerF) for its counterfactual analysis on the general cohort.

This explicit modeling provides technical measures to facilitate the interpretation of model outputs, allowing engineers and auditors to accurately apply the corresponding explainability method and avoid mixing explainers, which is essential for investigating anomalies. The use of these local, model-agnostic techniques allows for deep scrutiny of individual decisions, enabling the detection of potential issues like systematic misclassification (e.g., false negatives) in specific patient subgroups, even when overall accuracy remains high.

6. Version Control and Model Evolution

Version control and model evolution are explicitly tracked through the tagged values of the <<TrainedModel>> stereotype. Each model is uniquely identified by its Version number (e.g., $1.0, 1.2, 1.5, 1.8, 2.0, 2.2$). These versions directly correlate with the trained classifier, the training data used (referenced through the association with the <<DataSource>>), and the deployed explainer. This mechanism establishes a formal record for performance, configuration, and evolution, making the changes in the AI system's performance traceable for regulatory bodies.

7. Validation and Testing Metrics

Validation and testing procedures focused on the ClinicalModule achieved an Overall System Accuracy of $97\%$. Specific performance metrics for the individual deployed models (as recorded in their <<TrainedModel>> tagged values) are: $95\%, 97\%, 99\%, 97\%, 95\%, 97\%$ respectively.

While accuracy is a primary measure, the technical design explicitly integrates post-hoc explainability components (Section 5) to address potential hidden weaknesses that standard aggregate metrics may fail to reveal, such as systematic classification errors within sensitive subgroups (e.g., poor sensitivity for false negatives). The explainability diagram is therefore a direct artifact of the validation process, demonstrating the commitment to the assessment of model reliability beyond simple accuracy scores.

8. Traceability and Documentation Measures

The proposed UML approach serves as the primary technical documentation artifact for achieving traceability. The core of the traceability relies on the direct mapping from the source code structure to the UML class diagram.

- Data Traceability: The <<DataSource>> stereotype, with its Name and Version tagged values, ensures explicit documentation of the training data used by all models.

- Model Traceability: The use of <<ModelDefinition>> and <<TrainedModel>> stereotypes distinctly links the algorithm, the trained artifact, and its version/performance metrics.

- Decision Traceability (Auditability): The explicit 1-to-1 associations between each <<TrainedModel>> and its specific explainer (e.g., <<LimeExplainer>> or <<ShapExplainer>>) directly captures the flow of the explanatory process. This makes it possible for auditors to clearly see the entire system execution flow, from data input to the explainability technique applied to each predictive model.

The UML diagram provides a visual representation of all involved elements, fulfilling the requirement for a clear and comprehensive form to assess compliance. The explicit modeling of these components ensures that the explanatory processes are fully auditable, enhancing overall system accountability.